DIRECTORATE: VETERINARY SERVICES

Allerton P.V.L.,458 Town Bush Road, Pietermaritzburg, 3201 KZN Department of Agriculture & Rural Development, Private Bag X2, Cascades, 3202 Tel: 033 3476200 Fax: 033 3471633 Email: enquiries.allerton@kzndard.gov.za

RABIES INFORMATION SHEET

ALLERTON PROVINCIAL VETERINARY LABORATORY

Samples

1) Entire/1 hemisphere of brain, including cerebellum and brainstem or spinal cord or peripheral nerves or salivary glands in 50% glycero-saline (if no glycero-saline, send fresh sample in bottle without delay on ice or hand deliver to the laboratory)

2) Head with intact brain

3) Animal with head and brain intact

NB: Sample specimens sent in 10% Buffered Formalin are not ideal as they will need to be sent to OVI and is an indirect test which is not as sensitive as FA; specimens 2 & 3 will delay the turnaround time because the Post Mortem assistant will have to remove the brain first.

NB: Samples/carcasses that are severely decomposed will not be tested as this could affect the sensitivity of the test i.e. false negative results may be obtained.

SAMPLE PACKAGING AND TRANSPORT

Pathology samples must be transported in SABS compliant packaging whenever they are transported on a public road – no matter how short the distance. The Dangerous Goods Regulations governing the transport of pathology samples requires that the United Nations triple-layer packaging be complied with as follows:

- The primary receptacle: A watertight, leak-proof receptacle containing the sample. If the receptacle is not leak-proof, seal the top with packaging tape. The receptacle is packaged with enough material to absorb all fluid in case of breakage. If the primary receptacles are tubes, they must be separated. Using glass receptacles for highly infectious substances e.g. Rabies specimens, must be avoided at all times.

- Secondary packaging: A second durable, watertight, leak-proof receptacle to enclose and protect the primary receptacle.

- Rigid, outer packaging:	Secondary packaging is placed in rigid, outer packaging with sufficient cushioning material. Outer packaging protects their contents from outside influences, such as physical damage while in transit. Each completed package shall be correctly marked, labelled and accompanied with the appropriate documents. Infectious substances, affecting humans and animals e.g. Rabies, Brucella, TB etc. must not be packaged and transported in the same shipping container together with other specimens.

Package marking and labelling

Packages must be marked and labelled to provide information about the contents of the package, the nature of the hazard and the packaging standards applied. All markings shall be made in such a way that they are clearly visible. Each package shall display the following on the outer packaging:

- Details of the consignee & consignor.

- United Nations number and shipping name.

- UN 2814 “Infectious substance, affecting humans” Category A

- UN 2900 “Infectious substance, affecting animals” Category A

- UN 3373 “Biological substances” Category B

- Indicate the contents of the package when specimens may be infected with Rabies.

- Orientation label

- Temperature storage requirements (optional).

- When dry ice or liquid nitrogen is used, the appropriate UN number i.e. UN1845, net quantity and type of refrigerant used, must be indicated.

Documentation

The following shipping documents are required:

- Allerton P.V.L. Rabies Submission form: latest edition (enclosed in a plastic bag between the secondary packaging and the outer packaging of the shipping container or securely attached to the outside of the package)

- Waybill

Deliver samples to: 	Allerton P.V.L.

458 Town Bush Road

Pietermaritzburg

3201

Receipt of samples

Samples received at reception at Allerton PVL are forwarded to the Rabies section unopened, where they will be tested. Rabies submission forms are handed to reception for registration onto LIMS.

Sample processing

The Direct Florescent Antibody Test (FAT) is used. The test itself on a single sample, in a perfect scenario, usually takes 2 hours to complete.

Turnarounds times

Should samples be received before 2pm, results will normally be available the day of submission.  Samples arriving after 2pm however, will only be processed the following day.

NB: For samples received after 2pm on Friday’s, results will be available on the following Monday (taking into consideration no public holidays).

Reporting Protocol once final result is generated

- The section “For lab use only” on the Rabies submission form must be completed and signed by the responsible Veterinary Technologist that views the slides and the Veterinarian in charge of the section or their back up.

- The submission form must be signed by the Deputy Manager as a “no charge” submission.

- Copies of the “Rabies submission form / final report” are made and delivered to the Epidemiology section for faxing / emailing to the Sender [Private Veterinarian or other (if their details are provided)], State Veterinary Office and relevant Authorities. If the sample is positive (KZN Province), results will also be sent to CDC Ethekwini; Department of Health (PMB) and environmental health officer of the respective area.

- Results are to be entered onto LIMS by the Veterinary Technologist in charge of the section or their back-up.

Should the client not receive results within the expected turnaround time, the client must contact their relevant State Veterinary Office. Failing that, the following personnel may be contacted:

- Dr Varushka Naidoo (Veterinarian in charge) 	033 347 6280

- Mr Skhanyiso Khumalo (Veterinary Technologist 1)  	033 347 6200

- Mrs Raina Maharaj (Veterinary Technologist 2)	033 347 6292

- Mr Absalom Makhubela (Veterinary Technologist 3) 	033 347 6282

- Mr Kevin le Roux (Epidemiology) 	  079 506 2058

- Mrs Jacqui le Roux (Quality Manager)	079 506 2078

NB: Initiation of treatment should not be delayed pending laboratory diagnosis.

(Bishop et al. Second Edition, 2010. RABIES Guide for the Medical, Veterinary and Allied Professions).